## Sheet1
| Line# | Location | Sample pID | weight | Comments
| 1 |  | bypass1 |  |  | really P2B2 because it was in the warming chamber from last night
| 2 |  | bypass2
pin9 | 3 |  | bypass3 |  |  | Really a bypass, but data calls it "timing" because I didn't shift the rows down in the sample table.
10 | 4 |  | bypass4 | [5 empty] | Mass N | Mass C
11 | 5 | P11b5 | timing | 1.239 |  |  |  |  | 0.025589 | 0.17559
12 | 6 | blank A8 | [6 empty] | 0.053147 | 0.36469
13 | 7 | Std1 P11F4 |  | 0.247 |  |  |  |  | 0.089718 | 0.61564
14 | 8 | Std2 P11F5 |  | 0.513 |  |  |  |  | 0.11344 | 0.77844
15 | 9 | Std3 P11F6 |  | 0.866 |  |  |  |  | 0.15115 | 1.0372
16 | 10 | Std4 P11F7 |  | 1.095 |  |  |  |  | 0.17539 | 1.2036
17 | 11 | Std5 P11F8 |  | 1.459 |  |  |  |  | 0.20544 | 1.4097
18 | 12 | Std6 P11F9 |  | 1.693
19 | 13 | Std7 P11F10 |  | 1.983
20 | 14 | blank A9
21 | 15 | P2B2 | 72 |  |  | P2B1 | 50 | ran as bypass 1 :(
22 | 16 | P2B3 | 71
23 | 17 | P2B4 | 55
24 | 18 | P2B5 | 54
25 | 19 | P2B6 | 53
26 | 20 | P2B7 | 52
27 | 21 | P2B8 | 51
28 | 22 | P2B9 | 58
29 | 23 | P2B10 | 57
30 | 24 | P2B11 | 56
31 | 25 | P2B12 | 49
32 | 26 | P11C1 | control | 1.322
33 | 27 | P2C1 | 48
34 | 28 | P2C2 | 47
35 | 29 | P2C3 | 46
36 | 30 | P2C4 | 153
37 | 31 | P2C5 | 152
38 | 32 | P2C6 | 151
39 | 33 | P2C7 | 150
40 | 34 | P2C8 | 149
41 | 35 | P2C9 | 148
42 | 36 | P2C10 | 147
43 | 37 | P2C11 | 146
44 | 38 | P2C12 | 75
45 | 39 | P11C2 | Control | 1.749
46 | 40 | P2D1 | 74
47 | 41 | P2D2 | 73
48 | 42 | P2D3 | 80
49 | 43 | P2D4 | 79
0 | 44 | P2D5 | 78
1 | 45 | P2D6 | 77
2 | 46 | P2D7 | 76
3 | 47 | P2D8 | 98
4 | 48 | P2D9 | 97
5 | 49 | P2D10 | 96
6 | 50 | P2D11 | 86
7 | 51 | P2D12 | 85

## Example
Line# | AS well # | Sample | weight | Comments
1 |  | bypass
2 |  | bypass
3 | p7g11 | timing | 0.777
4 |  | blank
5 | p8f12 | std1 | 0.113
6 | p8b6 | std2 | 0.242
7 | p8c8 | std3 | 0.525
8 | p8a4 | std4 | 0.664
9 | p8a1 | std5 | 0.823
10 | p8g4 | std6 | 1.035
11 |  | blank
12 | B5 | MP-72
13 | B6 | MP-71
14 | B7 | MP-119
15 | B8 | MP-109
16 | B9 | P-2619
17 | B10 | P-2617
18 | B11 | P-2618
19 | B12 | P-2499
20 | C1 | P-2568
21 | C2 | P-2578
22 | C3 | P-2468
23 | C4 | P-2465
24 | p8c7 | control1 | 0.545
25 | C5 | P-2444
26 | C6 | P-2440
27 | C7 | P-2439
28 | C8 | P-2644
29 | C9 | MP-53
30 | C10 | P-2651
31 | C11 | P-2645
32 | C12 | P-2646
33 | D1 | P-2647
34 | D2 | P-2648
35 | D3 | MP-54
36 | D4 | MP-55
37 | D5 | MP-56
38 | D6 | P-2641
39 | p8c9 | control2 | 0.33
40 | D7 | P-2642
41 | D8 | P-2652
42 | D9 | P-2649
43 | D10 | P-2650
44 | D11 | P-2653
45 | D12 | MP-51
46 | E1 | MP-52
47
48
49
50
51
52
53

## Sheet2
Std (mg) | Resp (mV)
0.247 | 79.344
0.513 | 164.036
0.866 | 261.807
1.095 | 330.962
1.459 | 439.603
1.693 | 509.6
1.983 | 596.941
3.1139 | 931.146
Calculated mass of second control (that had too high of a response to be reasonable)
Plan: Move on to run 5 as normal,
cherry pick some samples from run4 to rerun,
compare them to the original run4,
decide how many to rerun (or all)