## Sheet1
| projectID | lakeID | sampleID | dateSample | parameter | parameterValue | QCcode | flag | rerun | Randi's Comments | Stuart's thoughts | Note: POC/PON/POP can be rerun with the back-up filter.
19 | 17 | CB | CB_DeepHole_20200701_0909_Hypo_3_Limno.Sample.20160505 | 2020-07-01 | POC | 341.491 | NA | 0 | n | ok- barely outside of range |  | Flags "1" indicate that I'm planning to rerun them.
49 | 15 | CR | CR_Outlet_20190701_955_Surface_0_Limno.Sample.20160505 | 2019-07-01 | particulateP | 25.1042 | NA | 1 | y | Will rerun |  | Highlighted yellow means I'm unsure and would appreciate your thoughts. Thank you!
52 | 15 | CR | CR_Outlet_20190814_1150_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 41.4584 | NA | 1 | y | Will rerun
50 | 17 | CR | CR_Outlet_20190620_934_Surface_0_Limno.Sample.20160505 | ######## | POC | 1507 | NA | 1 | y | Will rerun
54 | 15 | CR | CR_Outlet_20200817_0930_Surface_0_Limno.Sample.20160505 | ######## | POC | 1297.744 | NA | 1 | y | Will rerun
139 | 3 | FE | FE_DeepHole_20190716_932_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 24.2223 | NA | 0 | n | These seem ok, no rerun? | no rerun
142 | 3 | FE | FE_DeepHole_20190730_1001_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 23.9192 | NA | 0 | n | These seem ok, no rerun? | no rerun
143 | 3 | FE | FE_DeepHole_20190521_1008_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 5.9711 | NA | 0 | n | These seem ok, no rerun? | no rerun
146 | 3 | FE | FE_DeepHole_20190820_1340_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 26.3891 | NA | 0 | n | These seem ok, no rerun? | no rerun
157 | 3 | FE | FE_DeepHole_20200820_1132_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 23.6247 | NA | 0 | n | These seem ok, no rerun? High nutrients too | no rerun
144 | 3 | FE | FE_DeepHole_20190806_937_Hypo_8_Limno.Sample.20160505 | 2019-08-06 | PON | 528 | NA | 1 | y | Will rerun
153 | 3 | FE | FE_DeepHole_20200616_1035_Hypo_8_Limno.Sample.20160505 | ######## | PON | 200.841 | NA | 1 | y | Will rerun
154 | 3 | FE | FE_DeepHole_20200616_1035_Hypo_8_Limno.Sample.20160505 | ######## | POC | 1430.221 | NA | 1 | y | Will rerun
138 | 3 | FE | FE_DeepHole_20190508_1220_PML_0.5_Limno.Sample.20160505 | 2019-05-08 | particulateP | 22.801 | NA | 1 | y | Yes they're a lot higher than normal, but three in a summer and two very close to each other makes me think these might be ok. Plan to rerun just in case | good to check
1421 | 3 | FE | FE_DeepHole_20190709_1104_PML_1_Limno.Sample.20160505 | 2019-07-09 | particulateP | 21.3194 | NA | 1 | y | Yes they're a lot higher than normal, but three in a summer and two very close to each other makes me think these might be ok. Plan to rerun | good to check
1461 | 3 | FE | FE_DeepHole_20190521_1008_PML_1_Limno.Sample.20160505 | ######## | particulateP | 22.7637 | NA | 1 | y | Yes they're a lot higher than normal, but three in a summer and two very close to each other makes me think these might be ok. Plan to rerun | good to check
1441 | 3 | FE | FE_DeepHole_20190702_908_PML_1.5_Limno.Sample.20160505 | 2019-07-02 | PON | 262 | NA | 0 | n | Seems ok compared to 2018 spike that wasn't flagged. | ok
140 | 3 | FE | FE_DeepHole_20190513_1020_PML_0.5_Limno.Sample.20160505 | ######## | POC | 1412 | NA | 0 | n | ok- barely outside of range
105 | 3 | FE | FE_Inlet1_20190716_932_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 16.469 | NA | 0 | n | ok- barely outside of range
99 | 3 | FE | FE_Inlet1_20190716_932_Surface_0_Limno.Sample.20160505 | ######## | PON | 166 | NA | 0 | n | ok- barely outside of range
45 | 15 | HB | HB_Outlet_20190803_1345_Surface_0_Limno.Sample.20160505 | 2019-08-03 | particulateP | 40.7121 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
46 | 15 | HB | HB_Outlet_20190814_1037_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 30.3298 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
47 | 15 | HB | HB_Outlet_20191006_1047_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 28.1726 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
451 | 15 | HB | HB_Outlet_20190814_1037_Surface_0_Limno.Sample.20160505 | ######## | PON | 329 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
44 | 17 | HB | HB_Outlet_20190719_1044_Surface_0_Limno.Sample.20160505 | ######## | POC | 1840 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
452 | 15 | HB | HB_Outlet_20190814_1037_Surface_0_Limno.Sample.20160505 | ######## | POC | 2818 | NA | 1 | y | seems real, all spike together. no rerun | good to check because quite a bit out of range
7 | 15 | ME | ME_DeepHole_20190524_840_PML_1.5_Limno.Sample.20160505 | ######## | particulateP | 10.666 | NA | 0 | n | all new data for ME, no good record for averages
6 | 3 | ME | ME_DeepHole_20190730_1041_PML_2_Limno.Sample.20160505 | ######## | PON | 134 | NA | 0 | n | all new data for ME, no good record for averages
60 | 15 | MO | MO_DeepHole_20200622_0905_Hypo_7_Limno.Sample.20160505 | ######## | particulateP | 55.8613 | NA | 0 | n | seems real, all spike together. no rerun | seems ok
63 | 15 | MO | MO_DeepHole_20200720_0900_Hypo_4_Limno.Sample.20160505 | ######## | POC | 2636.773 | NA | 0 | n | seems real, all spike together. high nutrients too no rerun | seems ok
56 | 17 | MO | MO_DeepHole_20190617_930_PML_1_Limno.Sample.20160505 | ######## | PON | 217 | NA | 0 | n | seems real, all spike together. no rerun | seems ok
62 | 15 | MO | MO_DeepHole_20200612_0925_PML_1.5_Limno.Sample.20160505 | ######## | PON | 227.133 | NA | 0 | n | seems real, all spike together. no rerun | seems ok
48 | 17 | MO | MO_Outlet_20190731_938_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 27.6534 | NA | 1 | y | maybe part of DeepHole spike, will rerun because it's pretty high | seems ok
66 | 15 | MO | MO_Inlet1_20200612_0925_Surface_0_Limno.Sample.20160505 | ######## | PON | 182.916 | NA | 0 | n | ok- barely outside of range
55 | 17 | MO | MO_Inlet2_20190731_938_Surface_0_Limno.Sample.20160505 | ######## | particulateP | 42.2677 | NA | 1 | y | seems real, all spike together. no rerun | seems ok
57 | 17 | MO | MO_Inlet2_20190731_938_Surface_0_Limno.Sample.20160505 | ######## | PON | 341 | NA | 1 | y | seems real, all spike together. no rerun | seems ok
601 | 15 | MO | MO_Inlet2_20200819_1015_Surface_0_Limno.Sample.20160505 | ######## | PON | 265.274 | NA | 1 | y | seems real, all spike together. high nutrients too no rerun | seems ok
13 | 17 | NG | NG_DeepHole_20190729_836_Hypo_4.5_Limno.Sample.20160505 | ######## | particulateP | 17.5524 | NA | 0 | n | ok- barely outside of range
15 | 17 | NG | NG_DeepHole_20190729_836_PML_0.75_Limno.Sample.20160505 | ######## | particulateP | 29.1862 | NA | 0 | n | ok- matches increase in other particulates
36 | 13 | PA | PA_DeepHole_20191007_1000_PML_6_Limno.Sample.20160505 | ######## | particulateP | 13.4917 | NA | 0 | n | ok- barely outside of range (minimum detection limit of POP is ~2-3ug/l and this (13.49) is barely outside the 2*sd (~11)
24 | 34 | PA | PA_DeepHole_20190401_1030_PML_2_Limno.Methane.Sample.20180416 | 2019-04-01 | PON | 229.1668 | NA | 0 | n | Winter sample
241 | 34 | PA | PA_DeepHole_20190401_1030_PML_2_Limno.Methane.Sample.20180416 | 2019-04-01 | POC | 1096.26 | NA | 0 | n | Winter sample
20 | 34 | PE | PE_DeepHole_20190401_0945_Hypo_13_Limno.Methane.Sample.20180416 | 2019-04-01 | PON | 233.7491 | NA | 0 | n | Winter sample
29 | 34 | PE | PE_DeepHole_20190801_948_PML_2_Limno.Sample.20160505 | 2019-08-01 | particulateP | 20.0478 | NA | 1 | y | Will rerun, maybe ok. Matches other particulate spike
22 | 34 | PE | PE_DeepHole_20190401_0945_PML_2_Limno.Methane.Sample.20180416 | 2019-04-01 | PON | 335.9485 | NA | 0 | n | Winter sample
34 | 34 | PE | PE_DeepHole_20190808_1000_PML_2_Limno.Sample.20160505 | 2019-08-08 | PON | 193 | NA | 0 | n | ok- barely outside of range
221 | 34 | PE | PE_DeepHole_20190401_0945_PML_2_Limno.Methane.Sample.20180416 | 2019-04-01 | POC | 2091.613 | NA | 0 | n | Winter sample
133 | 3 | WL | WL_DeepHole_20190709_910_Hypo_8_Limno.Sample.20160505 | 2019-07-09 | particulateP | 6.7314 | NA | 0 | n | ok- barely outside of range
136 | 3 | WL | WL_DeepHole_20190730_842_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 7.8445 | NA | 0 | n | ok- barely outside of range
1462 | 3 | WL | WL_DeepHole_20190611_910_Hypo_8_Limno.Sample.20160505 | ######## | particulateP | 31.0569 | NA | 0 | n | ok- barely outside of range
1431 | 3 | WL | WL_DeepHole_20190722_830_Hypo_8_Limno.Sample.20160505 | ######## | PON | 216 | NA | 0 | n | seems real, POC and PON both very low for the same two weeks in a row here | seems ok, but check filter volumes? | vol ok 140ml
160 | 3 | WL | WL_DeepHole_20200707_1000_Hypo_8_Limno.Sample.20160505 | 2020-07-07 | PON | 35.948 | NA | 0 | n | seems real, POC and PON both very low for the same two weeks in a row here | seems ok, but check filter volumes? | 120
1601 | 3 | WL | WL_DeepHole_20200715_0907_Hypo_8_Limno.Sample.20160505 | ######## | POC | 274.178 | NA | 0 | n | seems real, POC and PON both very low for the same two weeks in a row here | seems ok, but check filter volumes? | 120
161 | 3 | WL | WL_DeepHole_20200707_1000_Hypo_8_Limno.Sample.20160505 | 2020-07-07 | POC | 224.572 | NA | 0 | n | seems real, POC and PON both very low for the same two weeks in a row here | seems ok, but check filter volumes? | 120
1361 | 3 | WL | WL_DeepHole_20190709_910_PML_1.5_Limno.Sample.20160505 | 2019-07-09 | particulateP | 22.719 | NA | 1 | y | Will rerun, maybe ok
127 | 3 | WL | WL_DeepHole_20190611_910_PML_1.5_Limno.Sample.20160505 | ######## | PON | 138 | NA | 0 | n | ok- barely outside of range
129 | 3 | WL | WL_DeepHole_20190625_835_PML_2_Limno.Sample.20160505 | ######## | PON | 138 | NA | 0 | n | ok- barely outside of range
148 | 3 | WL | WL_DeepHole_20200715_0907_PML_2_Limno.Sample.20160505 | ######## | PON | 145.334 | NA | 0 | n | ok- barely outside of range
147 | 3 | WL | WL_DeepHole_20200630_0958_PML_1_Limno.Sample.20160505 | ######## | POC | 223.185 | NA | 0 | n | ok- barely outside of range
149 | 3 | WL | WL_DeepHole_20200811_0948_PML_1.5_Limno.Sample.20160505 | ######## | POC | 195.331 | NA | 0 | n | ok- barely outside of range